## Slide 1
SCPI COMMANDS IN A NUT SHELL

## Slide 2
Step | Description
1 | Install IviSharedComponents64_261.exe
2 | Install KeithleyDMM6500-x64.msi
SCPI and TSP are available for DMM6500
Plan | Description
1 | SCPI commands for voltage measurement
2 | SCPI commands for impedance measurement
3 | SCPI commands for current measurement
4 | SCPI commands for trigger

## Slide 3
COMPUTER
SCANNER MODULE
DMM
OSC
PS

## Slide 4
GENERAL INFORMATION

## Slide 5
GENERAL INFORMATION

## Slide 6
VOLTAGE MEASUREMENT

## Slide 7
CURRENT MEASUREMENT

## Slide 8
RESISTANCE MEASUREMENT

## Slide 9
CONFIGURATION
SENSE:
FUNC
VOLT:DC
VOLT:AC
CURR:DC
CURR:AC
RES
FourwireRESistor
DIOD
CAP
TEMP
CONT
FREQ
PER

## Slide 10
CONFIGURATION
SENSE:
DIGitize:
COUNt
FUNCtion
<int>
“CURRent”
“VOLTage”
VOLT:
CURR:
SRATe
<int>

## Slide 11
MEAS: SUBSYSTEM
MEAS:
DIGitize:
COUNt
FUNCtion
<int>
“CURRent”
“VOLTage”

## Slide 12
SENSE
ATR:
APER:
AVER:
DEL:
INP:

## Slide 13
CURRENT MEASUREMENT

## Slide 14
IMPEDANCE MEASUREMENT

## Slide 15
TRIGGER

## Slide 16
TRIGGER TIMER

## Slide 17
ANALOG TRIGGER

## Slide 18
ANALOG TRIGGER

## Slide 19
TRIGGER
TRIG:
EXTernal:
CLEar
IN:
OVERrun
EDGE:
FALLing
RISing
EITHer
OUT:
LOGic:
POSitive
NEGative
PAUSe
RESume
STATe?
TIM<1:4>er:
CLEar
COUNt <integer>
STAT:(?)
ON
DELay <second>
1e-5 = 10us
ABOR:
INIT:
OFF

## Slide 20
TRIGGER (Cont.)
TRIG:
CONTinuous:
AUTO
RESTart
OFF

## Slide 21
ANALOG TRIGGER

## Slide 22
BUFFER
DCV
Max no. of samples: 100000
First index: 1
Sampling period: ~ 201.45 ms
Digi V
Max no. of samples: 100000
First index: 1
Sampling period: 1us

## Slide 23
PYTHON STRUTURE
SCPI_TEMPLATE
SenseSubFncTemplate
AC
DC
RES
FRES
DIOD
TEMP
FREQ
PER
DIG
VOLT
CURR